## Precision
Imprecision by analysis of variance components (ANOVA)
|  | Operator: |  |  |  |  | Instrument: | [5 empty] | Operator: |  |  |  | Instrument: |  |  |  |  | Licenced to ACB 2018 |  |  |  |  | F-value | p-value | (p=0,05) | MS | F-value | p-value | (p=0,05)
|  | Date(s): |  |  |  |  | Comments: | [5 empty] | Date(s): |  |  |  | Comments: | [6 empty] | 0 | 0
|  | Reagents: | [10 empty] | Reagents:
|  | Calibrator: | [10 empty] | Calibrator: | [18 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Group (day, run or instrument) | [29 empty] | #VALUE!
[23 empty] | Between group df: |  |  | MS | Target value: |  |  |  |  | #VALUE!
| DATE | [21 empty] | Within group df: |  |  |  | utarget (SEM):
|  | 1A | 2A | 3A | 4A | 5A | 6A | 7A | 8A | 9A | 10A | 1 B | 2 B | 3 B | 4 B | 5 B | 6 B | 7 B | 8B | 9B | 10B |  | Number of observations:
Replicate | 1. | [21 empty] | Mean: |  |  |  | utarget (%CV):
| 2. | [21 empty] | SEM: |  |  |  | Bias:
| 3. | [21 empty] | Average of average of series |  |  |  | ubias:
| 4. | [21 empty] | Average of series' SD |  |  |  | z-score:
| 5. | [21 empty] | Within series variance: |  |  |  | a % | 5 | 5
| 6. | [21 empty] | Between series variance: |  |  |  | t-value (k):
| 7. | [21 empty] | Intralaboratory variance: |  |  |  | High ver value:
| 8. | [21 empty] | Within series imprecision s(X): |  |  |  | Low ver value:
| 9. | [21 empty] | Between series imprecision s(X): |  |  |  | Conclusion:
| 10. | [21 empty] | Intralaboratory imprecision(SD):
Within series rel imprecision (%CV):
| Group mean: | [21 empty] | Between series rel. imprecision (%CV):
| SD: | [21 empty] | Intralaboratory imprecision (%CV):
%CV:
| SEM | [21 empty] | Default values of rejection rate is set to 5 % .
| Number obs: | [21 empty] | Uncertainty may be enterd as CV% or SD, however,
SD, if present, takes precedence over CV%
Claimed repeatability (SD):
Claimed repeatability (CV%):
[23 empty] | False rejection rate (α %): | 5 | 5
Verification value:
Conclusion:
Claimed intra-lab (SD):
Claimed intralab (%CV):
[23 empty] | False rejection rate (α %): | 5 | 5
Verification value:
Conclusion:
[23 empty] | Critical Grubbs value (1/5) | 5 | 5
[23 empty] | Upper outlier |  |  | 1
[23 empty] | Lower outlier |  |  | 5
© Anders Kallner, Dept Clin Chem, Karolinska hospital,
SE 171 76 Stockholm, SWEDEN, anders.kallner@ki.se
Version 8.5; 19-04-09
[6 empty] | Display overall mean ± 2 SD (Y/N)? | Y | [9 empty] | Display overall mean ± 2 SD (Y/N)? | Y
[6 empty] | Display SEM (SE), SD (SD) or none (N)? | SE | Standard error | [8 empty] | Display SEM (SE), SD (SD) or none (N)? | SE | Standard error
[6 empty] | Display target means (Y/N): | N | [9 empty] | Display target means (Y/N): | N
[6 empty] | Hide individual observations (Y/N): | N | [9 empty] | Hide individual observations (Y/N): | N
The scale of the Y-axis is 'automatic' by default but can be adjusted individually via 'Format axis' and 'Scale'.
It is usually sufficient to adjust the 'minimum level'.
|  |  | 0 | [10 empty] | 0
|  |  | 0 | [10 empty] | 0
|  |  | Mean ± SEM | [9 empty] | Mean ± SEM
Y
N
SE
SD
Note on D7: Enter the name of the component here. If empty, no calculatons will be performed
Note on I46: Display of graphs are swapped by Y or N
Note on N7: Enter the name of the component here. If empty, no calculatons will be performed
Note on Z15: If MSwith >MSbet then the MSbet is shown in brackets and the intermediate variance set to 0.
Note on Z30: Defaults is 5 %
Note on AA18: If repeatability variance >Intermediate variance then the latter is set to zero. Actual value shown in brackets.
Standard error
Standard error

## P Calc (hidden)
| 1A | 2A | 3A | 4A | 5A | 6A | 7A | 8A | 9A | 10A | 1B | 2B | 3B | 4B | 5B | 6B | 7B | 8B | 9B | 10B |  |  |  | Mean | #DIV/0! | #DIV/0!
[24 empty] | SD | #DIV/0! | #DIV/0!
Mean of groups | [23 empty] | Number of obs: | 0 | 0 |  | Comp1 | Comp2 |  | Comp1 | Comp2
[24 empty] | Number of groups: | 0 | 0 | SSbet: | #DIV/0! | #DIV/0! | MSbet:
[24 empty] | Mean number of obs in groups: | #DIV/0! | #DIV/0! | SSwith: | #DIV/0! | #DIV/0! | MSwith:
[24 empty] | df between | -1 | -1 | Total | #DIV/0! | #DIV/0!
Number of obs/group | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | df within | 0 | 0 |  |  |  | #VALUE! | #VALUE!
[24 empty] | Total | -1 | -1
group sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | F-dist: | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE!
[24 empty] | F-crit(0,05) | #VALUE! | #VALUE!
Calc of verification value | 1A: A; 2A: B; 4A: A; 6A: B; 1B: Graphs; 4B: ± | [7 empty] | MSbet: | MSbet:
Manuf. claimed within CV%: | 1A: 0; 2A: 0; 1B: X for obs; 3B: X for target; 4B: Target mean; 5B: Target±2sd; 6B: Target-2sd | [6 empty] | If MSb<MSw: | #DIV/0! | #DIV/0!
Manuf. claimed within SD: | 1B: #N/A; 2B: 1; 3B: #N/A; 4B: #N/A
False rejection rate (%): | 1A: 0.05; 2A: 0.05; 1B: #N/A; 2B: 2; 3B: #N/A; 4B: #N/A
Verification value: | 1B: #N/A; 2B: 3; 3B: #N/A; 4B: #N/A
Level' (2, 3 or 4): | 1A: 2; 2A: 2; 1B: #N/A; 2B: 4; 3B: #N/A; 4B: #N/A |  | x for found | Found mean | Found ±2sd | Found -2sd |  |  |  |  | 0
C: | 1A: 0.975; 2A: 0.975; 3A: C:; 4A: #VALUE!; 5A: C:; 6A: #VALUE!; 1B: #N/A; 2B: 5; 3B: #N/A; 4B: #N/A | Component 1 | #N/A | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
Evaluation | 1A: Review !!; 2A: Review !!; 3A: Review !!; 1B: #N/A; 2B: 6; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
| 3A: Accept; 1B: #N/A; 2B: 7; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
B: | 1A: #DIV/0!; 2A: #DIV/0!; 1B: #N/A; 2B: 8; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
T (numerator): | 1A: #DIV/0!; 2A: #DIV/0!; 1B: #N/A; 2B: 9; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
T (denominator): | 1A: #DIV/0!; 2A: #DIV/0!; 1B: #N/A; 2B: 10; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
T | 1A: #DIV/0!; 2A: #DIV/0!; 3A: #DIV/0!; 5A: #DIV/0!; 7A: Bias; 1B: #N/A; 2B: 1; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Number of replicates | 1A: #DIV/0!; 2A: #DIV/0!; 1B: #N/A; 2B: 2; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Number of days: | 1A: 0; 2A: 0; 1B: #N/A; 2B: 3; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Manuf. claimed within CV%: | 1A: 0; 2A: 0; 1B: #N/A; 2B: 4; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Manuf. claimed within SD: | 7A: 0; 8A: 0; 1B: #N/A; 2B: 5; 3B: #N/A; 4B: #N/A | Component 2 | #N/A | #VALUE! | #VALUE! | #VALUE!
False rejection rate (%): | 1A: 0.05; 2A: 0.05; 1B: #N/A; 2B: 6; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Verification value: | 1B: #N/A; 2B: 7; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Level' (2, 3 or 4): | 1A: 2; 2A: 2; 1B: #N/A; 2B: 8; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
C: | 1A: 0.975; 2A: 0.975; 3A: C:; 4A: #DIV/0!; 5A: C:; 6A: #DIV/0!; 1B: #N/A; 2B: 9; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
Evaluation | 1A: Review !!; 2A: Review !!; 1B: #N/A; 2B: 10; 3B: #N/A; 4B: #N/A |  | #N/A | #VALUE! | #VALUE! | #VALUE!
[22 empty] | #N/A | #VALUE! | #VALUE! | #VALUE!
| 1A: conc 1 |  | #N/A | #VALUE! | #VALUE! | #VALUE!
[22 empty] | #N/A | #VALUE! | #VALUE! | #VALUE!
[22 empty] | #N/A | #VALUE! | #VALUE! | #VALUE!
| 1A: conc 2 |  | Y
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Grubbs
| number: | 0 | [8 empty] | 0
| alfa | 0.05 | [8 empty] | 0.05
| tcrit: | #DIV/0! | [8 empty] | #DIV/0!
| G-crit | #DIV/0! | [8 empty] | #DIV/0!
| Max: | 0 | #DIV/0! | [7 empty] | 0 | #DIV/0!
| Min: | 0 | #DIV/0! | [7 empty] | 0 | #DIV/0!
Note on A5: Miller 5th p60:
Note on E23: Rounded T. EP15 uses rounded value, we the calculated
Note on G23: Rounded T
Note on S13: Don't remove! Esential for logics
Note on AA5: Aronsson et al. SJCLI 1978;38:53-62. Harmoniskt medeltal n0=(N^2-sumsq(ni))/(N*(t-1))
Note on AF7: Help algorithm to blank cell if test name is not entered
Note on AG4: (df between-1)*variance of group means, alt SSbet/(number of groups -1)