## Input
| Bias estimation by EQA materials | [10 empty] | Licenced to "beta test" | Licenced to ACB 2017
| Operator: |  |  |  |  | Reagents:
s(P) | Date: |  |  |  |  | Calibrator: | [17 empty] | Display | k- for B-A
%CV | [5 empty] | Comments: | [16 empty] | Differences | Y | 2
SEM | [22 empty] | SD (Y/N): | Y |  |  | Peer SEM (N) Lab s(P) (Y) | N
[23 empty] | CV% (Y/N): | Y |  |  | Rel SEM Peer (N) %CV labs (Y): | Y
|  |  |  | Component: | Measurand | [17 empty] | B-A limits: | N
|  | Peer group results (P) |  |  |  |  | User results (Y) | [9 empty] | Calculated | [12 empty] | Weighted grand mean: | #DIV/0!
Sample # | Sample id | Group average | s(P), %CV or SEM | u(P) | SEM | N:o of obs in group | Result 1 | Result 2 | Result 3 | Result 4 | Result 5 | Result 6 | Result 7 | Result 8 | Result 9 | Result 10 | # obs | Average | s(Y) | Z-score | Abs devia-tion | Rel devia tion | Calc s(P), Peers | rel SEM % | s(y) | SEM | diff | rel diff |  | 1 z-score | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | ni | xbari | weight | si^2 | xbari-xbar grand^2
1 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A |  | #N/A
2 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
3 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
4 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
5 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
6 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
7 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
8 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
9 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
10 |  |  | s(P) | [19 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
11 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
12 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
13 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
14 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
15 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
16 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
17 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
18 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A | N
19 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A | Y
20 | [22 empty] | #N/A | #N/A | #N/A |  | #N/A | #N/A
|  | Slope | ±u | Intercept | ±u | Display |  | Allowable diff: | 5% |  | Pooled SD |  | # labs |  |  | Average Z-score: | #DIV/0! |  |  | Peer goup average: | #DIV/0!
| OLR: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Y |  | Display | Y |  | Peers: |  | 0 |  |  | s(Z): | #DIV/0! |  |  | SEMPeer | #DIV/0!
| Deming: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N |  |  | Regr. of differences |  | Labs: | #DIV/0! | 0 |  |  | SEMZ | #DIV/0! |  |  | Average user results: | #DIV/0! | #DIV/0!
| Coeff det r2: | #DIV/0! | [5 empty] | Display | Y | [6 empty] | tcrit: | #NUM! |  |  | SEMUser | #DIV/0!
[16 empty] | tdep: | #DIV/0! |  |  | Diff: | #DIV/0!
[16 empty] | df: | -1 |  |  | tcrit: | #NUM!
[16 empty] | α: | 5% |  |  | tdep: | #DIV/0!
[16 empty] | p-value (two-sided): | #DIV/0! |  |  | α : | 5%
[17 empty] | #DIV/0! |  |  | p-value (two-sided): | #DIV/0!
#DIV/0!
[15 empty] | ANOVA | ANOVA based on z-scores
[16 empty] | SS | df | MD | F | p-value | fcrit
[15 empty] | Betw gr | 0 | -1 | 0 | #DIV/0! | #DIV/0! | #NUM!
[15 empty] | Within gr | 0 | 0 | #DIV/0!
[15 empty] | Total | #N/A | -1 |  | #DIV/0!
Analysis of variance components
[16 empty] | Var | Sd
[15 empty] | Between | #DIV/0! | #DIV/0!
[15 empty] | Within | #DIV/0! | #DIV/0!
[15 empty] | Combined | #DIV/0! | #DIV/0!
| Version 3.1 Ó Anders Kallner | anders.kallner@ki.se |  |  | 2017-11-01
Measurand
Measurand
Peers
NB By default, the scales of the axes are set to AUTO. Pleawe optimize by standard Excel procedures!
Note on Y4: Dispaly differences or not
Note on Y5: Display sd or not
Note on AC5: If SD=N (Y5) no graph; if Peer = N then Lab data, else peer data.
Note on Y6: Display %CV or not
Note on AC6: referes to Rel diff
Note on X7: B-A is the difference betrween the user average and the peer average
Note on Y7: Display Bland-Altmad average and 2 sd, or not
Note on R31: Negative values indicate a negative bias, i.e. User results are smaller than those of the peers
Note on P49: after correctoin for s(w) If MS(b)<(ms(w) then =0

## Calc (hidden)
Gauss-curve
| Deming: |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Equal-line: | [10 empty] | SD: | 1
| λ(varY/varX): | #DIV/0! |  |  |  |  | #DIV/0! | #DIV/0! |  |  | 0 | 0 | [9 empty] | Mean: | 0
| V: | #DIV/0! | u |  |  |  | 0 | 1 |  |  | 0 | 0 | [9 empty] | -4 | 0.00033458
| bd: | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | [14 empty] | -3.9 | 0.00049664
| ad: | #DIV/0! | #DIV/0! | [18 empty] | -3.8 | 0.00072987
| OLR slope: | #DIV/0! | #DIV/0! |  |  | Input data for calc |  |  | diff | [8 empty] | Calculated Y |  | Residuals |  | -3.7 | 0.001062
| OLR intercept: | #DIV/0! | #DIV/0! |  |  | Peer | Lab |  | peer - lab | # obs-1 | var*(#-1) |  | SD peer | # obs | # obs-1 | var*(#-1) |  | Deming | OLR | Deming residuals | OLR residuals | -3.6 | 0.0015298
| s(y,x): | #DIV/0! |  |  | 1 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -3.5 | 0.0021817
| N:o obs | 0 |  |  | 2 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -3.4 | 0.0030805
| Correl: | #DIV/0! |  |  | 3 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -3.3 | 0.0043064
[5 empty] | 4 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -3.2 | 0.0059602
|  | peer | lab |  | 5 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -3.1 | 0.008167
|  | 0 | 0 |  | 6 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -3 | 0.01108
|  | 0 | 0 |  | 7 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.9 | 0.014881
[5 empty] | 8 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.8 | 0.019789
| Deming |  |  |  | 9 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.7 | 0.026052
|  | 0 | #N/A |  | 10 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.6 | 0.033957
|  | 0 | #N/A |  | 11 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.5 | 0.043821
| OLR |  |  |  | 12 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.4 | 0.055986
|  | 0 | #DIV/0! |  | 13 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.3 | 0.070818
|  | 0 | #DIV/0! |  | 14 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.2 | 0.088686
[5 empty] | 15 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2.1 | 0.10996
| Mean difference: | #N/A | #N/A | #N/A | 16 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -2 | 0.13498
| Mean rel difference: | #N/A | #N/A | #N/A | 17 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -1.9 | 0.16404
B-A limits | #N/A | #N/A | #N/A | #N/A | 18 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -1.8 | 0.19738
B-A limits | #N/A | #N/A | #N/A | #N/A | 19 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -1.7 | 0.23512
[5 empty] | 20 | [8 empty] | 0 | 0 |  |  |  |  | FALSE | FALSE | -1.6 | 0.2773
[5 empty] | Average | #DIV/0! | #DIV/0! | mean diff | #DIV/0! |  | 0 |  | 0 |  |  |  |  | Allowable deviation |  | Allowable diff |  | -1.5 | 0.32379
Mean z-score ±tcrit x SEM |  |  |  |  | Median | #NUM! | #NUM! | SD mean: | #DIV/0! | Sum: | 0 |  |  |  | Sum: | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0.37432
Peer groups' result | [7 empty] | Number | 0 | Denom: | 0 |  |  |  | Denom: | 0 | 0 | 0 | 0 | 0 | 0 | -1.3 | 0.42842
Diff: (Lab - Peer) values |  |  |  |  | SEM | #DIV/0! |  | tdep: | #DIV/0! | Pool SD: | #DIV/0! |  |  |  | Pool SD: | #DIV/0! | [5 empty] | -1.2 | 0.48547
SEM of Peers | [21 empty] | -1.1 | 0.54463
Diff and u for Lab & Peer values | [21 empty] | -1 | 0.60493
Relative diff: (Lab - Peer) | [7 empty] | #N/A |  |  | Regr of differences | [10 empty] | -0.9 | 0.66521
Relative diff and CV% for Lab & Peer values | [7 empty] | #N/A |  |  |  | x | y | [8 empty] | -0.8 | 0.72423
Rel SEM (%) of Peers | [7 empty] | #N/A |  |  | #DIV/0! | 0 | #DIV/0! | [8 empty] | -0.7 | 0.78063
Laboratory's average values | [7 empty] | #N/A |  |  | #DIV/0! | 0 | #DIV/0! | [8 empty] | -0.6 | 0.83306
Differences (Lab - Peers) | [7 empty] | #N/A | [13 empty] | -0.5 | 0.88016
Labs' | [7 empty] | #N/A | [13 empty] | -0.4 | 0.92068
Peers | [7 empty] | #N/A | [13 empty] | -0.3 | 0.95347
Labs | [7 empty] | #N/A | [13 empty] | -0.2 | 0.97761
[8 empty] | #N/A | [13 empty] | -0.1 | 0.99238
[8 empty] | #N/A | [13 empty] | 0 | 0.99736
[8 empty] | #N/A | [13 empty] | 0.1 | 0.99238
[8 empty] | #N/A | [13 empty] | 0.2 | 0.97761
[8 empty] | #N/A | [13 empty] | 0.3 | 0.95347
[8 empty] | #N/A | [13 empty] | 0.4 | 0.92068
[8 empty] | #N/A | [13 empty] | 0.5 | 0.88016
[8 empty] | #N/A | [13 empty] | 0.6 | 0.83306
[8 empty] | #N/A | [13 empty] | 0.7 | 0.78063
[8 empty] | #N/A | [13 empty] | 0.8 | 0.72423
[8 empty] | #N/A | [13 empty] | 0.9 | 0.66521
[8 empty] | #N/A | [13 empty] | 1 | 0.60493
[6 empty] | Average | #DIV/0! |  | #DIV/0! | [12 empty] | 1.1 | 0.54463
[6 empty] | Median | #NUM! |  | #NUM! | [12 empty] | 1.2 | 0.48547
[22 empty] | 1.3 | 0.42842
[22 empty] | 1.4 | 0.37432
[22 empty] | 1.5 | 0.32379
[22 empty] | 1.6 | 0.2773
[22 empty] | 1.7 | 0.23512
[22 empty] | 1.8 | 0.19738
[22 empty] | 1.9 | 0.16404
[22 empty] | 2 | 0.13498
[22 empty] | 2.1 | 0.10996
[22 empty] | 2.2 | 0.088686
[22 empty] | 2.3 | 0.070818
[22 empty] | 2.4 | 0.055986
[22 empty] | 2.5 | 0.043821
[22 empty] | 2.6 | 0.033957
[22 empty] | 2.7 | 0.026052
[22 empty] | 2.8 | 0.019789
[22 empty] | 2.9 | 0.014881
[22 empty] | 3 | 0.01108
[22 empty] | 3.1 | 0.008167
[22 empty] | 3.2 | 0.0059602
[22 empty] | 3.3 | 0.0043064
[22 empty] | 3.4 | 0.0030805
[22 empty] | 3.5 | 0.0021817
[22 empty] | 3.6 | 0.0015298
[22 empty] | 3.7 | 0.001062
[22 empty] | 3.8 | 0.00072987
[22 empty] | 3.9 | 0.00049664
[22 empty] | 4 | 0.00033458
Note on B11: correlation coeff=r
Note on C24: measured - peer =B-A
Note on A27: relative
Note on A33: Produces secondary axis labels