## Precision and trueness
Group (day, series or instrument)
|  | test 1 | [9 empty] | test 2 | [11 empty] | 4 | 4
Run
|  | 1A | 2A | 3A | 4A | 5A | 6A | 7A | 8A | 9A | 10A | 1 B | 2 B | 3 B | 4 B | 5 B | 6 B | 7 B | 8B | 9B | 10B |  | Component: | test 1 | test 2 | test 1 |  |  |  | test 2
Replicate | 1. | 1A: 5.6; 2A: 5.4; 3A: 4.9; 4A: 4.8; 5A: 5.1; 1 B: 10.1; 2 B: 11; 3 B: 11; 4 B: 11.5; 5 B: 11 | 80.4 | [5 empty] | F-crit |  |  |  | F-crit
| 2. | 1A: 5.8; 2A: 5.2; 3A: 5; 4A: 5.5; 5A: 5.2; 1 B: 10.3; 2 B: 10.9; 3 B: 11.5; 4 B: 11.1; 5 B: 10.9 | 81.4 |  |  |  | MS | F-value | p-value | (p=0,05) | MS | F-value | p-value | (p=0,05)
| 3. | 1A: 5.4; 2A: 4.9; 3A: 5.3; 4A: 4.9; 5A: 5; 1 B: 9.9; 2 B: 10.8; 3 B: 11.6; 4 B: 11.5; 5 B: 11.1 | 80.4 | Between group df: | 4 | 4 | 0.41698 | 9.1725 | 0.00010534 | 2.7426 | 1.4745 | 23.6804 | 3.4207e-08 | 2.7587
| 4. | 1A: 5.3; 2A: 5; 3A: 5; 4A: 5; 5A: 4.9; 1 B: 10.5; 2 B: 10.6; 3 B: 11.8; 4 B: 11; 5 B: 11.5 | 80.6 | Within group df: | 25.9677 | 25 | 0.045459 |  | test 1 | test 2 | 0.062267
| 5. | 1A: 5.8; 2A: 5.1; 3A: 5; 4A: 5.1; 5A: 4.9; 1 B: 10; 2 B: 10.7; 3 B: 11.2; 4 B: 11.2; 5 B: 10.9 | 79.9 | Number of observations: | 31 | 30 |  | Target control value: | 5.1 | 10.8
| 6. | 1A: 6; 2A: 5; 3A: 4.9; 4A: 5; 5A: 5.5; 1 B: 10.1; 2 B: 11; 3 B: 11; 4 B: 11.7; 5 B: 11.2 | 81.4 | Mean: | 5.1848 | 10.9533 |  | utarget (SEM): | 0.2
| 7. | 4A: 5.1 | 5.1 | SEM: | 0.055342 | 0.092567 |  | Calc SEM: | 0.0408 | 1.08
| 8. | [20 empty] | 0 | Mean of group means | 5.1848 | 10.9533 |  | utarget (CV%): | 0.8 | 10
| 9. | [20 empty] | 0 | Mean of group SDs | 0.20862 | 0.24291 |  | Bias: | -0.084762 | -0.15333
| 10. | [20 empty] | 0 | Repeatability variance: | 0.045459 | 0.062267 |  | ubias: | 0.20752 | 1.084
[23 empty] | Intermediary variance: | 0.059985 | 0.23537 |  | z-score: | 0.26103 | 0.28106
|  | 1A: 0.26646; 2A: 0.17889; 3A: 0.1472; 4A: 0.22254; 5A: 0.22804; 1 B: 0.21679; 2 B: 0.1633; 3 B: 0.33317; 4 B: 0.27325; 5 B: 0.22804 |  | Intralaboratory variance: | 0.10544 | 0.29764 |  | a % | 5 | 1
| Group mean: | 1A: 5.65; 2A: 5.1; 3A: 5.0167; 4A: 5.0571; 5A: 5.1; 1 B: 10.15; 2 B: 10.8333; 3 B: 11.35; 4 B: 11.3333; 5 B: 11.1 |  | Repeatability (SD): | 0.21321 | 0.24953 |  | High ver value: | 5.6086 | 11.2085
| SEM: | 1A: 0.10878; 2A: 0.07303; 3A: 0.060093; 4A: 0.084112; 5A: 0.093095; 1 B: 0.088506; 2 B: 0.066667; 3 B: 0.13601; 4 B: 0.11155; 5 B: 0.093095 |  | Intermediary precision (SD): | 0.24492 | 0.48515 |  | Low ver value: | 4.761 | 10.6982
| CV%: | 1A: 1.925%; 2A: 1.432%; 3A: 1.198%; 4A: 1.663%; 5A: 1.825%; 1 B: 0.872%; 2 B: 0.6154%; 3 B: 1.198%; 4 B: 0.9843%; 5 B: 0.8387% |  | Intralaboratory imprecision(SD): | 0.32472 | 0.54556 |  | Conclusion: | Accept | Accept
| Number obs: | 1A: 6; 2A: 6; 3A: 6; 4A: 7; 5A: 6; 1 B: 6; 2 B: 6; 3 B: 6; 4 B: 6; 5 B: 6 |  | Repeatability (CV%): | 4.1123 | 2.2781
[23 empty] | Intermediary precision (CV%): | 4.7238 | 4.4293
| 489.2 | [21 empty] | Intralaboratory imprecision (CV%): | 6.263 | 4.9808
[23 empty] | Default values of rejection rate and 'level' are set to 5 % and 2. |  |  |  | Uncertainty may be enterd as CV% or SD, however,
[23 empty] | May be changed by operator. |  |  |  | SD, if present takes precedence over CV%
[23 empty] | Claimed repeatability (SD): |  | 1
[23 empty] | Calc SD | 0.1037
[23 empty] | Claimed repeatability (CV%): | 2%
[23 empty] | False rejection rate (%): | 5 | 5
[23 empty] | Verification value: | 0.13176 | 1.2751
[23 empty] | 'Level': | 2 | 2
[23 empty] | Conclusion: | Review!! | Accept
[23 empty] | Claimed intralab SD: |  | 5
[23 empty] | Calc SD | 0.20739
[23 empty] | Claimed intralab CV%: | 4%
[23 empty] | False rejection rate (%): | 5 | 5
[23 empty] | Verification value: | 0.29581 | 7.8743
[23 empty] | 'Level': | 2 | 2
[23 empty] | Conclusion: | Review!! | Accept
|  | 4A: Display found means:; 5A: y; 4 B: Display found means:; 5 B: y |  | © Anders Kallner, Dept Clin Chem, Karolinska hospital, SE 171 76 Stockholm, SWEDEN, anders@kallner.net
|  | 4A: Display target means:; 5A: y; 4 B: Display target means:; 5 B: y |  | Version 3.04; 08-04-24
The scale of the Y-axis is 'automatic' by default but can be adjusted individually via 'Format axis' and 'Scale'.
It is usually sufficient to adjust the 'minimum level'.
Mean ± SEM
Note on C5: Always begin entering data here!
Note on G41: Enter any character to display graphs. Default is both positive.
Note on M5: Always begin entering data here!
Note on Q41: Enter any character to display graphs. Default is both positive
Note on X4: No calculations will be performed unless a component name is entered in cells S3 and T3, respectively
Note on Y29: Defaults is 5 %
Note on Y31: Defaults is 2.
Note on AC9: Target value of certified reference material or patient material measured by mentor laboratory
Note on AC10: Uncertainty of target value, 1 sd =standard error
Note on AC12: Assumed to be relative SEM

## P Calc (hidden)
| 1A | 2A | 3A | 4A | 5A | 6A | 7A | 8A | 9A | 10A | 1B | 2B | 3B | 4B | 5B | 6B | 7B | 8B | 9B | 10B |  |  |  | Mean | 5.1848 | 10.9533
[24 empty] | SD | 0.30813 | 0.50701
Mean of groups | 1A: 5.65; 2A: 5.1; 3A: 5.0167; 4A: 5.0571; 5A: 5.1; 1B: 10.15; 2B: 10.8333; 3B: 11.35; 4B: 11.3333; 5B: 11.1 |  |  |  | Number of obs: | 31 | 30
Variance within groups | 1A: 0.071; 2A: 0.032; 3A: 0.021667; 4A: 0.049524; 5A: 0.052; 1B: 0.047; 2B: 0.026667; 3B: 0.111; 4B: 0.074667; 5B: 0.052 | 48.92 |  |  | Number of groups: | 5 | 5 | SSbet: | 1.6679 | 5.898 | MSbet: | 0.41698 | 1.4745
sum(c4:c13)^2/number obs (sumTi2/n) | 1A: 191.535; 2A: 156.06; 3A: 151.0017; 4A: 179.0229; 5A: 156.06; 1B: 618.135; 2B: 704.1667; 3B: 772.935; 4B: 770.6667; 5B: 739.26 | 41.0352 |  |  | Mean number of obs in groups: | 6.1935 | 6 | SSwith: | 1.1805 | 1.5567 | MSwith: | 0.045459 | 0.062267
[21 empty] | 1683.884 |  |  | df between | 4 | 4 | Total | 2.8484 | 7.4547
Number of obs/group | 1A: 6; 2A: 6; 3A: 6; 4A: 7; 5A: 6; 1B: 6; 2B: 6; 3B: 6; 4B: 6; 5B: 6 |  |  |  | df within | 25.9677 | 25 |  |  |  | 0.20752 | 1.084
Gr mean - tot mean | 0.21645 | 0.0071846 | 0.028256 | 0.016287 | 0.0071846 | 0 | 0 | 0 | 0 | 0 | 24.6536 | 31.9064 | 38.0102 | 37.8049 | 34.99 | 0 | 0 | 0 | 0 | 0 |  |  |  | Total | 30 | 30
[24 empty] | F-dist: | 0.00010534 | 3.4207e-08
[24 empty] | F-crit(0,05) | 2.7587 | 2.7587
Calc of verification value | 1A: A; 2A: B; 4A: A; 6A: B; 1B: Graphs
Manuf. claimed within CV%: | 1A: 0.02; 2A: 0; 1B: X for obs; 3B: X for target; 4B: Target mean; 5B: Target+2sd; 6B: Target-2sd
Manuf. claimed within SD: | 1A: 0.1037; 2A: 1; 7A: TRUE; 1B: 1; 2B: 1; 3B: 1; 4B: 5.1; 5B: 5.5; 6B: 4.7; 7B: 0.2
False rejection rate (%): | 1A: 0.05; 2A: 0.05; 1B: 2; 2B: 2; 3B: 2; 4B: 5.1; 5B: 5.5; 6B: 4.7; 7B: 1.08
Verification value: | 1A: 0.13176; 2A: 1.2751; 1B: 3; 2B: 3; 3B: 3; 4B: 5.1; 5B: 5.5; 6B: 4.7
Level' (2, 3 or 4): | 1A: 2; 2A: 2; 1B: 4; 2B: 4; 3B: 4; 4B: 5.1; 5B: 5.5; 6B: 4.7 |  | x for found | Found mean | Found +2sd | Found -2sd
C: | 0.975 | 0.975 | C: | 41.9232 | C: | 40.6465 |  |  |  |  | 5 | 5 | 5 | 5.1 | 5.5 | 4.7 |  |  |  |  | Component 1 | 1 | 5.1848 | 5.8342 | 4.5353
Evaluation | 1A: Review !!; 2A: Accept; 3A: Review !!; 1B: #N/A; 2B: 6; 3B: #N/A; 5B: 5.5; 6B: #VALUE! |  | 2 | 5.1848 | 5.8342 | 4.5353
| 3A: Accept; 1B: #N/A; 2B: 7; 3B: #N/A; 5B: 5.5; 6B: #VALUE! |  | 3 | 5.1848 | 5.8342 | 4.5353
B: | 1A: 0.067325; 2A: 0.24575; 1B: #N/A; 2B: 8; 3B: #N/A; 5B: 5.5; 6B: #VALUE! |  | 4 | 5.1848 | 5.8342 | 4.5353
T (nominator): | 1A: 0.4265; 2A: 3.1892; 1B: #N/A; 2B: 9; 3B: #N/A; 5B: 5.5; 6B: #VALUE! |  | 5 | 5.1848 | 5.8342 | 4.5353
T (denominator): | 1A: 0.045614; 2A: 0.54741; 1B: #N/A; 2B: 10; 3B: #N/A; 5B: 5.5; 6B: #VALUE! |  | #N/A |  | #VALUE! | #VALUE!
T | 1A: 9.3503; 2A: 5.8259; 3A: 9; 5A: 6; 1B: 1; 2B: 1; 3B: 1; 4B: 10.8; 5B: 12.96; 6B: 8.64 |  | #N/A |  | #VALUE! | #VALUE!
Number of replicates | 1A: 6.1935; 2A: 6; 1B: 2; 2B: 2; 3B: 2; 4B: 10.8; 5B: 12.96; 6B: 8.64 |  | #N/A |  | #VALUE! | #VALUE!
Number of days: | 1A: 5; 2A: 5; 1B: 3; 2B: 3; 3B: 3; 4B: 10.8; 5B: 12.96; 6B: 8.64 |  | #N/A |  | #VALUE! | #VALUE!
Manuf. claimed within CV%: | 1A: 0.04; 2A: 0; 1B: 4; 2B: 4; 3B: 4; 4B: 10.8; 5B: 12.96; 6B: 8.64 |  | #N/A |  | #VALUE! | #VALUE!
Manuf. claimed within SD: | 1A: 0.20739; 2A: 5; 1B: 5; 2B: 5; 3B: 5; 4B: 10.8; 5B: 12.96; 6B: 8.64 | Component 2 | 1 | 10.9533 | 12.0445 | 9.8622
False rejection rate (%): | 1A: 0.05; 2A: 0.05; 1B: #N/A; 2B: 6; 3B: #N/A; 5B: 12.96; 6B: 8.64 |  | 2 | 10.9533 | 12.0445 | 9.8622
Verification value: | 1A: 0.29581; 2A: 7.8743; 1B: #N/A; 2B: 7; 3B: #N/A; 5B: 12.96; 6B: 8.64 |  | 3 | 10.9533 | 12.0445 | 9.8622
Level' (2, 3 or 4): | 1A: 2; 2A: 2; 1B: #N/A; 2B: 8; 3B: #N/A; 5B: 12.96; 6B: 8.64 |  | 4 | 10.9533 | 12.0445 | 9.8622
C: | 1A: 0.975; 2A: 0.975; 3A: C:; 4A: 19.0228; 5A: C:; 6A: 14.4494; 1B: #N/A; 2B: 9; 3B: #N/A; 5B: 12.96; 6B: 8.64 |  | 5 | 10.9533 | 12.0445 | 9.8622
Evaluation | 1A: Review !!; 2A: Accept; 1B: #N/A; 2B: 10; 3B: #N/A; 5B: 12.96; 6B: 8.64 |  | #N/A |  | #VALUE! | #VALUE!
[22 empty] | #N/A |  | #VALUE! | #VALUE!
[22 empty] | #N/A |  | #VALUE! | #VALUE!
[22 empty] | #N/A |  | #VALUE! | #VALUE!
[22 empty] | #N/A |  | #VALUE! | #VALUE!
y
Note on A5: Miller p70
Note on D23: Rounded T
Note on F23: Rounded T
Note on R13: Don't remove! Esential for logics
Note on Z5: Aronsson et al. SJCLI 1978;38:53-62. Harmoniskt medeltal n0=(N^2-sumsq(ni))/(N*(t-1))
Note on AC4: Miller 070
Note on AC5: cf Miller p70
Note on AC6: cf Miller p70
Note on AE7: Help algorithm to blank cell if testname is not entered
Note on AF4: (df between-1)*variance of group means, alt SSbet/(number of groups -1)

## Track changes (hidden)
Date | Version | Change or amendment
08-04-10 | 13.2 | Ändrat grf i Precison från SD till SEM
Y-axelns beteckning nu i C52.
08-04-24 | 13.3 | Korrigerat i P-Calc för att få med alla 10 obs.
Lagt till Grupp medelvärden och SD av gruppmedelvärdena

## Trueness, Reference material
| Bias from reference material | [14 empty] | Version 14.1;18-07-21
|  | COMPONENT 1: |  |  |  | Licenced to ACB 2018 |  |  |  | COMPONENT 2: | [5 empty] | © Anders Kallner, Dept Clin Chem,
[5 empty] | tbias: | [7 empty] | tbias: |  |  | Karolinska hospital, SE 171 76 Stockholm
|  | Assigned value (r): | [7 empty] | Assigned value (r): | [5 empty] | SWEDEN
|  | Stand uncertainty: |  |  |  | False rejection rate (α) (%): | 5 |  |  | Stand uncertainty: |  |  |  | False rejection rate (α) (%): | 5 | anders.kallner@ki.se
[7 empty] | #VALUE! | [7 empty] | #VALUE!
|  | %CV | [7 empty] | %CV |  |  |  | Indicator height | 0.2
| Date | Operator | Replicate 1 | Replicate 2 |  | Average |  |  | Date | Operator | Replicate 1 | Replicate 2 |  | Average |  |  | Ave | line | sem
1. | [5 empty] | St dev: |  | 1. | [5 empty] | St dev:
2. | [5 empty] | SEM |  | 2. | [5 empty] | SEM |  |  | 0 | 0 | 0
3. | [5 empty] | Number of obs: |  | 3. | [5 empty] | Number of obs:
4. | [5 empty] | Bias: |  | 4. | [5 empty] | Bias: |  |  | 0 | 0 | 0
5. | [5 empty] | Ver range: |  | 5. | [5 empty] | Ver range:
6. | [5 empty] | Ver interval low: |  | 6. | [5 empty] | Ver interval low:
7. | [5 empty] | Ver interval high: |  | 7. | [5 empty] | Ver interval high:
8. | [5 empty] | Conclusion: |  | 8. | [5 empty] | Conclusion:
9. | [7 empty] | 9.
10. | [7 empty] | 10.
| Operator: | [7 empty] | Operator:
| Date: | [7 empty] | Date:
| Reagents: | [7 empty] | Reagents:
| Calibrator: | [7 empty] | Calibrator:
| Comments: | [7 empty] | Comments:
|  |  |  | 0 | [7 empty] | 0
Note on B10: Optional
Note on C4: Claimed values
Note on C10: Optional
Note on M10: Optional
Note on N10: Optional