## Instructions - help
Help items:
Overview
Worksheets
Evaluationcriteria
Config
General information
Data mapping
Import file formats
Using DataLoader to select QC levels
Errors & messages
Overview
This application, DataLoader, is designed to automate the process of populating the ANOVA template file with IQC data that users have extracted from their own systems.
A separate spreadsheet will be created for each analyte found in the imported data. A limited amount of data tidying is also done during this process.
This application may produce 100 or more test specific spreadsheets, processing up to 60,000 IQC points in a few minutes - saving hours of manual transcription.
The DataLoader stores and applies user defined evaluation criteria reducing the need for manual data entry.
These criteria are used to produce a simple ACCEPT / REJECT interpretation giving a statistical, network and analyser sepcific assessment.
The interpretations are collated into a single summary sheet to minimise the need to evaluate each spreadsheet and facilitate long term storage of complaince.
Worksheets
This application requires user input on 2 worksheets only: Evaluationcriteria and Config.
Evaluationcritera
This worksheet is used to store the user defined values used in the assessment of both network and individual analyser acceptability.
The items required are test code and level specific values of either uncertainty or relative uncertainty as appropriate.
These values need only be entered once and will be re-used every time the application is used.
You should decide which levels of QC you wish to process prior to populating target vales as they will often be level specific.
Values may also need to be updated when different lot numbers of IQC are implemented.
The choice of values entered are the reponsibility of the user based on their needs.
Any test processed where a evaluation criteria are absent will be flagged as "No eval data" on the summary sheet.
Config
This worksheet is the main control panel for this application
IQC data should must be extracted from the users mid-ware / analysers / QC package before starting.
The config worksheet is split into 3 parts horizontally.
Column B contains instructions
Column C requires data to be entered
Column D contains support items such as buttons which if clicked pop-up a file picker making file / folder section easy.
There are 5 main sections to this worksheet (vertically).
| 1 - a | Select the process type from a drop down list by clicking on the item (default = import and process) - this option is unlikely to be changed once set.
| b | Select the type of import file to be used. This is specific to a supplier / analyser. The correct selection is critical. - this option is unlikely to be changed once set.
| c | Enter the full name and path of the IQC data file extracted above. Click on the button to the right to obtain a file picker helper.
| d | Enter the full path where spreadsheets should be created when this application is run.
Files will be overwritten if files of the same name already exist in the destination folder. Date and time stamps are a user defined option to restrick this.
Summary files will have a date/time stamp added when created.
It is strongly recommended that files are created in a shareable folder in the format x:\......\year\month where x = drive letter.
e.g. w:\monthly analyser comparison\2014\january. Keeping this data will generally help IQC processes and support laboratory accreditation.
Store the DataLoader and the template file in the parent folder for re-use everytime dsts is processed.
| e | Enter the full name and path of a blank copy of the Anova spreadsheet. This should be populated with the default coverage factors desired
A copy of this will be used for each analyte processed. - this option is unlikely to be changed once set.
Options below this line are optional depending on the users requirements.
| 2 | This section is used to enter the full path and name of any supplementary data files. Use of more than 1 file (entered in 1 - c) is optional
All files used must be of the same format. Test codes must be common and the same IQC material must be used per analyte.
This option allows multiple extracts to be combined and processed as a single entity.
Start at number 2 and work downwards without leaving gaps.
Click on a row to highlight it then click on the button to the right to obtain a file picker helper. This makes entry easier.
| 3 - a | This section allows the entry of up to 5 QC lot number identifiers the data for which will be eliminated.
The DataLoader will process only the first 2 levels of QC found per analyte by default. This option allows the user to effectively select the levels processed.
Using this may slow data processing but may be necessary if the analyser / mid-ware is unable to select specific levels to extract.
The QC identifier must be as shown in the importeddata sheet. It may be necessary to separate the import and process options if the values are not known at the start.
If the data extracts contain 3 or more levels of IQC data create 2 copies of the data loader and configure each to exclude the others data.
Remember to use different output folders if using multiple DataLoaders or include file date/time stamps to prevent overwriting..
| b | Click on the number of SDs to obtain a drop down list. Select your preference. QC data outside the selected value will be eliminated from the process.
Use statistical validation Yes / No - this dropdown option will remove columns B and C (Statistical interpretation) from the Simple summary spreadsheet
The GO button
| 4 | Click on this button to start the process
Do not disturb the PC during the operation. A summary sheet will appear when preocessing is complete
Screen updating is disabled to prevent flickering / flashing
The current status of the program will be displayed in the status bar at the bottom of the Excel window
Data mapping for the user defined option
| 5 | The application has the option for users to map the configuration of the QC data files themselves if a prodefined match is not available.
The DataLoader requires 6 mandatory items: Analyte name / code, analyser name / ID, QC lot No / level, Target mean, Traget SD, results and first row of data.
The column / field number for each of these items must be stated as an integer e.g. if the analyte name is in column C of an xls file or the 3rd item in a CSV then
enter 3 in column C alonside Analyte (cell C47) - do the same for all of the items.
Data files frequently have header or blank lines at the top. To ensure that data is imported correctly the first row of the data must be indicated.
Some systems are unable to provide target information within the extracts themselves. This therefore enables users the opportunity to store these values
in the dataloader for automated population and processing. Needless to say a change of IQC lot numbers would require a review of any values stored.
The source of target mean and SDs should be selected as either embedded within your extracted QC data files or specified locally in the evaluationcriteria sheet.
The field number for mean and SD may be left blank if these items are specified as stored in the evaluationcriterea sheet (config - C55)
The system will automatcially detect the file type used and will support XLS, XLSX, XML, CSV or TXT files.
Data must be in continuous rows with the same format for this option to work correctly.
Otherworksheets are used exclusively by the Dataloader
General information
This application performs it's own housekeeping and data previously used is cleaned out at the start of processing.
Data being imported should not contain hidden or other characters which may be invalid for filenames.
Data files should not be opened anywhere else at the time of import as the Dataloader must have sole access
An automated startup option is included to support situations where extracts from the QC package / middleware can be automated.
This is achieved by creating a simple text file named "startautomatically.txt" in the output folder previously defined in the DataLoader.
If this file is present the application will start import / processing as soon as the spreadsheet opens without the user prompts which require human input.
The spreadsheet/macros may be run either by timed event or other third party scheduling software. Filenames and folders must be predefined in the DataLoader.
Spreadsheets created will be overwritten with the exception of the summary sheet. Macro security options on the PC shoud be configured to allow unattended use.
N.B if the program is interupted the macros will need to be reset. Close the workbook and start again.
Data mapping
The data loader picks up data from users data files and transfers it to a copy of the ANOVA template file. Some additional processing is carried out in between.
It is therefore critical that the appropriate data is transferred from one column in the data files to the appropriate location in the ANOVA sheet.
The table below indicates the formats of the files for the pre-defined import routines. Using the wrong format will result in run-time errors.
Import file formats: |  |  | Field location
Type |  |  | Test name | Analyser ID | QC Lot No | Mean | SD | Result | First data row | File type
Abbott (AMS) |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 2 | XLS
Abbott |  |  | 6 | 14 | 2 | calculated from range |  | 9 | 2 | TXT | range in field 11
Beckman (DataWizard) |  |  | 1: Standard output - data spread across multiple rows | XLS
Roche (XLS) |  |  | 2 | 1 | 3 | 12 | 13 | 4 | 2 | XLS
Roche (XML) |  |  | 21 | 11 | 5 | 19 | 20 | 14 | 3 | XML
Siemens (CSV) |  |  | 1 | 2 | 3 | 5 | 6 | 7 | 1 | CSV
Siemens Centralink (XML) |  |  | 4 | 2 | 3 | 13 | 11 | 10 | 3 | XML
User defined (see 5 above) |  |  | User defined | User defined | User defined | User defined | User defined | User defined | User defined | XLS, XLSX, XML, CSV, TXT
Selecting QC levels
Many QC systems / analysers do not have the facility to allow you select which levels to extract. As such all levels will be extracted. The ANOVA spreadsheet will only process 2 levels of QC.
When data extracts contain more than 2 levels the DataLoader can be used to remove one or more unwanted levels simply by entering the identifier for the unwanted lot(s) in section 3.
Up to 5 different lot numbers may be deleted at any time. The same QC materials / lot numbers must be used between analysers / sites.
The DataLoader sorts data by test / analyser and QC in alphabetical order. This allows for minor spelling differences between sites.
If in doubt import some data and check the ImportedData sheet in the DataLoader.
To handle more than 2 levels of data for a test create multiple copies of the DataLoader each named differently e.g. "Dataloader levels 1&2.xls" and "Dataloader level1.xls" configure the
evaluation criteria in each DataLoader appropriately. Enter the ID for level 2 in section 3 in the first DataLoader and levels 2 & 3 in the other. Any combination may be chosed (1&2, 1&3, 2&3).
The sama data files may be used for each DataLoader but either data/time stamps must be used for tests or a different output folder for each DataLoader. The latter is the better option.
Errors & messages
Many errors are trapped and dealt with with the application.
The most likely causes for errors are mismatched data files for the import routine selected / user defined settings. A pop-up message will appear if this is the case.
An "Error 70 - permission denied" will occur if you have a file open that the Dataloader needs to use. |  |  | 2: Stop the program, close all files and start again.
The data loader may open and close 100+ files during it's operation. Please do not use the computer whilst the DataLaoder is processing..
Screen updating is disabled for user protection. Status messages will be displayed in the status bar at the bottom left of the window.
Missing evaluation criteria will result in no evaluations being done (accept / reject messages)
Missing target means and SDs will result in blank graphs but the data will be populated.

## Config
Ver 9.7 | Please note: Compatible with ANOVA template ver. 10.2 onwards | DataLoader
Section | Instructions | Data entry area | Support
1 - a | Select the processing option required | Import & process | (click on the cell opposite for a list of options)
b | Select your system supplier / option | User defined | (click on the cell opposite for a list of options)
c | Enter the filename and path of your QC data
d | Enter the full path to the location where
spreadsheets will be created
e | Enter the full path of the blank template file.
2 | Optional supplementary QC data files: | Ignore this line
| Supplementary import file 2 |  | Use of more than 1 QC data file is optional. All data files must be the same format. Enter the full path and filenames. Do not leave blank rows between files. Start at number 2. Click on the row required then click on the button below to select a file for that row.
Supplementary import file 3
Supplementary import file 4
Supplementary import file 5
Supplementary import file 6
Supplementary import file 7
Supplementary import file 8
Supplementary import file 9
Supplementary import file 10
Supplementary import file 11
Supplementary import file 12
3 - a | Delete data for the following QC Lot Nos / level (optional): Ignore this line
| 1 |  | Enter the ID of up to 5 QC(s) to be deleted in the rows
| 2 |  | labelled 1 - 5 . Deleting data for specific levels / lot nos
| 3 |  | may slow down processing and is optional.
| 4 |  | Do not leave blank lines between entries
5
b | Tidy up imported data: | Remove QC results greater or less than | 3 | SDs
|  | Use statistical validation on Simple summary | Yes
|  | Add a date/time stamp to test file names | No
4
Data import is limited to a maximum of 60000 results. Multiple analysers, tests and QC levels are processed simmultaneously.
Only the first 500 results for each of the first 2 levels of a QC material will be processed. All other values will be ignored.
A separate Anova file will be created for each test spanning multiple analysers and levels of QC in the export directory listed above.
Developed by Pete Ayling, Barking, Havering & Redbridge University Hospitals NHS Trust 2014
5
Setup for user defined import (optional - only required if user defined selected above)
Please enter the field/column number for each item relevant to your data (do not use letters):
| Analyte name / code | 1
| Analyser name / ID | 2
| QC lot number / level | 3
| Target mean | 4
| Target SD | 5
| Result | 6
| First row of data (exclude blanks & headers) | 2
| Select source of target means and SDs | Embedded in QC data files | (click on the cell opposite for a list of options)
Remember to save this file to store this data for re-use
Click here to import / process data

## evaluationcriteria
|  | Level 1 |  | Level 2 |  | Level 1 |  | Level 2 |  |  | Level 1 |  | Level 2
User defined evaluation values | Test name | Within network uncertainty (AE28) | Relative within network uncertainty. (AE30) | Within network uncertainty (AF28) | Relative within network uncertainty. (AF30) | Acceptable within instr. uncertainty S.D. (I24) | Acceptable within instr. uncertainty C.V. (K24) | Acceptable within instr. uncertainty S.D. (T24) | Acceptable within instr. uncertainty C.V. (V24) | Optional settings for QC target mean and SDs where not embedded within the extracted data files. Only used in user defined mode. | Local IQC target Mean (C23) | Local IQC target SD (C24) | Local IQC target Mean (Z23) | Local IQC target SD (Z24)
This sheet allows the user to define their own test specific values on
which the evaluation is based. These values need only be entered
once and will be re-used every time the application is used.
The values in brackets in the column headers refer to the cell in the
Anova spreadsheet where this data will be used.
Please remember to set and save the coverage factors applicable
in the blank ANOVA template.
These values may need to be updated when new lots of IQC are used.
Creating a list of tests:
The application can create / update a list of test codes from a
previously run summary. This is done by clicking on the button
below and selecting a previous summary file. New test codes
will be added to the list each time this function is used - retaining
previously entered data.
Alternately, test names may be entered freehand - please ensure .
accuracy

## ImportData
Test | Analyser | Level | Mean | SD | Result