## Slide 1: Thames Audit Therapeutic Drug Monitoring
Emily Leach
Thames
Audit
Group

## Slide 2: Part 1-Audit Responders
Total 16 responses
Chart: 
| Teaching Hospital | DGH | Specialist | Other | Part of a network | Your site only | Whole site | Not part of a network
 | 5 | 9 | 2 | 1 | 12 | 5 | 7 | 4
Thames
Audit
Group

## Slide 3: Part 2- Secondary Hypertension Audit
Chart: 
| Total responses | 2° Hypertension | Implementing Changes
 | 16 | 12 | 4
Reviewing whether to measure serum dexamethasone where a false positive is suspected due to the clinical scenario
Cortisol comments for investigation of Cushings are now adapted by the clinical scientist to take into consideration caveats for specific screening tests, e.g. pregnancy, epilepsy or suspected cyclic Cushing syndrome if suggesting ONDST, and CKD or adrenal incidentaloma if suggesting UFC.
Referral laboratory identified for dexamethasone testing. Trying to set up a referral service for salivary cortisol.
Thames
Audit
Group

## Slide 4: TDM Audit Resources/Guidelines
British Journal of Cardiology, Digoxin: Current clinical uses and management of toxicity, 2023
Epilepsy in Pregnancy (RCOG Green-top Guideline No.68-2016)
Immunosuppresive therapy for kidney transplant in adults (NICE TA 2017)
Clinical Practice Guideline- Post Operative Care in the Kidney Transplant Recipient (BTS/The Renal Association- 2017)
British Association of Dermatologists guidelines- (2018)
British Society of Gastroenterology consensus guidelines on the management of inflammatory bowel disease in adults

## Slide 5: TDM Audit
Split into 4 major sections
  Cardiac
  Antiepileptic
  Immunosuppresants
  Antibiotics
Abnormal Result Escalation
Aim: To review different aspects with a view to potentially improving harmonisation
Thames
Audit
Group

## Slide 6: Part 3.1- Cardiac
Cardiac
Anti-Hypertensive Screen
Digoxin
Chart: 
| In-House | Referral | Not Stated | Not Offered
Anti-Hypertensive Screen | 0 | 7 | 4 | 5
Digoxin | 15 | 1 | 0 | 0
Range | 0.5-2.0 | 0.5-1.0 (HF) | <3 | 0.8-2.0 | 1.0-2.6 | Not Stated
Response | 9 | 4 | 1 | 1 | 1 | 1
Main source Pathology Harmony despite observed
Difference
Some manufacturer defined ranges
Thames
Audit
Group

## Slide 7: Part 3.1- Digoxin
Chart: 
| Abbott | Beckman | Ortho | Roche | Siemens | Not stated
 | 5 | 1 | 1 | 7 | 1 | 1
Chart: 
| LGC | NEQAS | RIQAS | Not Stated
 | 1 | 10 | 4 | 1
Thames
Audit
Group

## Slide 8: Part 3.1-Cardiac (Restrictions & Comments)
Anti-Hypertensive Screen
Most restrict referral by DB
Most request list of medications before sending
Digoxin
No restrictions in place
Most advise collection 6 hrs post dose
2 refer to interference of Digibind
2 refer to the importance of co-analysis of K with Digoxin in relation to toxicity
Thames
Audit
Group

## Slide 9: Part 3.2- Anti Epileptics
Chart: 
| Carbamazepine | Carbamazepine-epoxide (metabolite) | Clonazepam | Free Phenytoin | Gabapentin | Lamotrigine | Levetiracetam | Phenobarbital | Phenytoin | Topiramate | Valproic acid
In-House | 14 | 0 | 0 | 1 | 0 | 1 | 0 | 10 | 15 | 0 | 8
Referral | 2 | 13 | 14 | 9 | 15 | 15 | 16 | 6 | 1 | 16 | 8
Not Sent | 0 | 3 | 2 | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Chart: 
| Carbamazepine | Carbamazepine-epoxide (metabolite) | Clonazepam | Free Phenytoin | Gabapentin | Lamotrigine | Levetiracetam | Phenobarbital | Phenytoin | Topiramate | Valproic acid
Abbott | 5 | 2 | 5 | 5 | 5
Beckman | 1 | 1 | 1 | 1
Ortho | 1 | 1 | 1
Roche | 6 | 2 | 6 | 3
Siemens | 1 | 1 | 1
Not stated | 2 | 14 | 13 | 13 | 13 | 12 | 13 | 6 | 2 | 13 | 7
LC-MS | 0 | 2 | 3 | 2 | 3 | 2 | 3 | 0 | 3
Calculation | 1
Thames
Audit
Group

## Slide 10: Part 3.2- Anti Epileptics
 | Unit Agreement | Range Agreement
Carbamazepine | Yes | Yes
Carbamazepine-epoxide (metabolite) | Yes | Yes
Clonazepam | No | No
Free Phenytoin | Yes | Yes
Gabapentin | Yes | Yes
Lamotrigine | Yes | Yes
Levetiracetam | Yes | Yes
Phenobarbital | Yes | No
Phenytoin | Yes | No
Topiramate | Yes | Yes
Valproate | Yes | No
Clonazepam |  |  |  |  |  |  |  | 
Referral | Not Sent | Chalfont |  |  | Units | Ranges |  | 
14 | 2 | 9 |  |  | ug/L | 5-50 | 20-70 | 22-85
 |  |  |  |  | mg/L | 0.02-0.07 |  | 
Phenobarbital |  |  |  |  |  |  |  | 
In-House | Referral | Ranges |  |  |  |  |  | 
10 | 6 | 10-40 |  | 15-40.0 |  | 10.0-30 | NS | 
 |  | 11 |  | 2 |  | 1 | 2 | 
Source |  | Path Harmony |  | BNF |  |  |  | 
Phenytoin |  |  |  |  |  |  |  | 
In-House | Referral |  | Ranges |  |  |  |  | 
15 | 1 |  | 5-20 |  | 10-20 | NS | Other | 
 |  |  | 12 |  | 2 | 1 | 1 | 
Source |  |  | Path Harmony |  | Path Harmony |  |  | 
Valproate |  |  |  |  |  |  |  | 
In-House | Referral | Ranges Provided |  | No Ranges |  |  |  | 
8 | 8 | 8 |  | 8 |  |  |  | 

## Slide 11: Part 3.2- Anti Epileptics (Restrictions & Comments)
Restriction | Yes | No | NS | Restricted to | Collection | Comments
Carbamazepine | 0 | 16 | 0 |  | Trough/Pre-dose Steady state | Further details on ranges
Carbamazepine-epoxide | 5 | 4 | 7 | Consultants Vetted by DB | Fasting, trough Avoid gel | Referral comments
Clonazepam | 6 | 8 | 2 | Consultants Vetted by DB or duty pharmacist | Trough/Pre-dose Steady state Protect from sunlight | Referral comments 4 hours pre-dose
Free Phenytoin | 3 | 10 | 3 | Consultants | Toxicity | Referral comment
Gabapentin | 5 | 10 | 1 | Consultants Vetted by DB | Trough | Referral comment
Lamotrigine | 7 | 9 | 0 | Polypharmacy pts Vetted by DB or duty pharmacist Pregnancy only | Trough Baseline for pregnancy Avoid gel | Referral comments Results <2 review compliance/dosage
Levetiracetam | 7 | 9 | 0 | Polypharmacy pts Vetted by DB or duty pharmacist Pregnancy only | Trough Avoid gel | Referral comments Trough levels or 6 hours post dose
Phenobarbital | 2 | 14 | 0 | Vetted by DB | Trough/Pre-dose Steady state Samples can be taken anytime of the day | Ranges apply to trough
Phenytoin | 0 | 16 | 0 |  | Trough/Pre-dose Steady state | See website to calculate "free" Trough sample Small dose change may have significant serum impact
Topiramate | 5 | 10 | 1 | Consultants Vetted by DB Not for GPs | Trough/Pre-dose Steady state | Referral comment
Valproate | 6 | 10 | 0 | Nerology only Vetted by DB Toxicity only | Trough/pre-dose gel Half life | Serum levels show poor correlation Trough range only Routine monitoring not recommended Efficacy may be achieved at conc. Lower than range

## Slide 12: Part 3.3-Immunosuppresants
Chart: 
| Ciclosporin | Everolimus | Mycophenolate | Tacrolimus
In-House | 9 | 1 | 1 | 8
Referral | 7 | 13 | 15 | 9
Not Sent | 0 | 1 | 0 | 0
Chart: 
| Ciclosporin | Everolimus | Mycophenolate | Tacrolimus
LC-MS | 8 | 5 | 5 | 8
Main lab | 4 | 0 | 0 | 2
NS | 4 | 11 | 11 | 6
Thames
Audit
Group

## Slide 13: Part 3.3-Immunosuppresants
 |  |  | Restrictions | 
 | Unit Agreement | Range Agreement | Yes | No
Ciclosporin | Yes | No | 3 | 13
Everolimus | Yes | No | 3 | 13
Mycophenolate | Yes | No | 3 | 13
Tacrolimus | Yes | No | 3 | 13
Shared Care
6 responses
Shared through LIMS (2)
Samples sent directly to responsible hospital for analysis (3) e.g. King’s, Harefield, GOSH
Reports made available (1)
Thames
Audit
Group

## Slide 14: Part 3.4-Antibiotics
 | In-House (B) | In-House (M) | Referral | NS | Unit Agreement | Range Agreement
Amikacin | 13 | 2 | 1 | 0 | Yes except 1 | Generally pre <5
Gentamicin | 15 | 1 | 0 | 0 | Yes except 1 | Generally pre <1
Teicoplanin | 1 | 2 | 12 | 1 | Yes | Generally
Tobramycin | 5 | 1 | 6 | 1 | Yes | Generally pre <1
Vancomycin | 15 | 1 | 0 | 0 | Yes | Generally pre 10-15
Thames
Audit
Group

## Slide 15: Part 3.4-Antibiotics
Chart: 
| Abbott | Beckman | Inkiko | Ortho | Roche | Siemens | Referral/NS | Thermo
Amikacin | 5 | 1 | 1 | 1 | 7 | 1 | 0 | 0
Gentamicin | 5 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Teicoplanin | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 3
Tobramycin | 2 | 0 | 1 | 0 | 1 | 1 | 9 | 2
Vancomycin | 5 | 1 | 1 | 1 | 6 | 1 | 1 | 0
Chart: 
| Amikacin | Gentamicin | Teicoplanin | Tobramycin | Vancomycin
LGC | 2 | 2 | 1 | 0 | 2
NEQAS | 11 | 12 | 1 | 8 | 12
RIQAS | 1 | 2 | 0 | 0 | 2
NS | 2 | 0 | 14 | 8 | 0
Thames
Audit
Group

## Slide 16: Part 4- Result Escalation
 | Low | High |  | Route of Escalation | 
Digoxin | <1 | >2 | ≥2.5 ug/L |  | 
 | 1 | 2 | 12 | Phone to requestor Phone to duty pharmacist | 
Carbamazepine |  | >12 | >25 |  | 
 |  | 2 | 9 | Phone to requestor Phone to duty pharmacist | 
Phenobarbital | <10 | >70 | >40 |  | Some denoted a difference with adults at >70, and paed >40, while some escalated at >40 and 1 site at >30
 | 1 | 8 | 5 | Phone to requestor Phone to duty pharmacist | 
Phenytoin |  | ≥25 | >20 |  | 
 |  | 13 | 1 | Phone to requestor Phone to duty pharmacist | One site >20, and another by age ranges for paed pts
Immunosuppresants | Very variable |  |  |  | 
Antibiotics | Very variable |  |  |  | 
Thames
Audit
Group

## Slide 17: Summary
Variability in Digoxin ranges
Clonazepam generally sent to the same site but differences observed in units and ranges
Differences in ranges for Phenobarbital & Phenytoin despite most sites using the same source
Large variances shown in immunosuppressant ranges-clinical needs
Large variances shown in antibiotic practices-clinical needs
Most sites escalate the same tests at slightly different ranges- most consistent with Royal College of Pathology limits
Thames
Audit
Group

## Slide 18: Thank you
Timely responses
Very detailed with lots of additional documentation supplied
All questions attempted
Thames
Audit
Group

## Slide 19: Thank you for listening.
Thames
Audit
Group

## Slide 20: Thames Audit Group TDM Recommendations
Thames
Audit
Group

## Slide 21: Digoxin
Review source of ranges & ensure there is clear evidence base
If Pathology Harmony is preferred source consider extended range
Thames
Audit
Group

## Slide 22: Anti-Epileptics
Ranges provided were limited to adults only, and consideration given to paediatric ranges where appropriate
Clonazepam- Most responses listed the same referral site but there was an obvious difference in reported units and ranges. Consider contacting your referral site to check reporting units and ranges.
Phenobarbital- Review source of ranges & ensure there is clear evidence base
Phenytoin- Review source of ranges & ensure there is clear evidence base
Valproate- there is a division of whether to report a range. Consider the latest evidence base and discuss with local clinical teams.
Thames
Audit
Group

## Slide 23: Immunosuppresants & Antibiotics
Ranges or no ranges, are dependent on clinical scenario and local clinical teams

## Slide 24: Any Questions
Thames
Audit
Group